30-Bus system data

Table  1  Transmission line characteristics

| ID | From | To | Max Cap | X |
| --- | --- | --- | --- | --- |
| 1 | 1 | 2 | 30 | 0.0575 |
| 2 | 1 | 3 | 30 | 0.1852 |
| 3 | 2 | 4 | 30 | 0.1737 |
| 4 | 3 | 4 | 30 | 0.0379 |
| 5 | 2 | 5 | 30 | 0.1983 |
| 6 | 2 | 6 | 30 | 0.1763 |
| 7 | 4 | 6 | 30 | 0.0414 |
| 8 | 5 | 7 | 30 | 0.0116 |
| 9 | 6 | 7 | 30 | 0.082 |
| 10 | 6 | 8 | 30 | 0.042 |
| 11 | 6 | 9 | 30 | 0.208 |
| 12 | 6 | 10 | 30 | 0.556 |
| 13 | 9 | 11 | 30 | 0.208 |
| 14 | 9 | 10 | 30 | 0.11 |
| 15 | 4 | 12 | 65 | 0.256 |
| 16 | 12 | 13 | 65 | 0.14 |
| 17 | 12 | 14 | 32 | 0.2559 |
| 18 | 12 | 15 | 32 | 0.1304 |
| 19 | 12 | 16 | 32 | 0.1987 |
| 20 | 14 | 15 | 16 | 0.1997 |
| 21 | 16 | 17 | 16 | 0.1932 |
| 22 | 15 | 18 | 16 | 0.2185 |
| 23 | 18 | 19 | 16 | 0.1292 |
| 24 | 19 | 20 | 32 | 0.068 |
| 25 | 10 | 20 | 32 | 0.209 |
| 26 | 10 | 17 | 32 | 0.0845 |
| 27 | 10 | 21 | 30 | 0.0749 |
| 28 | 10 | 22 | 30 | 0.1499 |
| 29 | 21 | 22 | 30 | 0.0236 |
| 30 | 15 | 23 | 16 | 0.202 |
| 31 | 22 | 24 | 30 | 0.179 |
| 32 | 23 | 24 | 16 | 0.27 |
| 33 | 24 | 25 | 30 | 0.3292 |
| 34 | 25 | 26 | 30 | 0.38 |
| 35 | 25 | 27 | 30 | 0.2087 |
| 36 | 27 | 28 | 30 | 0.396 |
| 37 | 27 | 29 | 30 | 0.4153 |
| 38 | 27 | 30 | 30 | 0.6027 |
| 39 | 29 | 30 | 30 | 0.4533 |
| 40 | 8 | 28 | 30 | 0.2 |
| 41 | 6 | 28 | 30 | 0.0599 |

Table  2  Load distrbution by bus

| Bus | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Distribution | 0.00 | 0.08 | 0.01 | 0.20 | 0.12 | 0.00 | 0.08 | 0.10 | 0.00 | 0.07 | 0.00 | 0.08 | 0.00 | 0.02 | 0.03 |
| Bus | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |
| Distribution | 0.01 | 0.03 | 0.01 | 0.02 | 0.01 | 0.06 | 0.00 | 0.01 | 0.02 | 0.00 | 0.01 | 0.00 | 0.00 | 0.00 | 0.02 |

Table  3  yearly peak load and energy demand

Table  4  Load by subperiod in base  year

| Subperiod | 1 | 2 | 3 | 4 |
| --- | --- | --- | --- | --- |
| Peak Load (MW) | 283.4 | 255.1 | 229.6 | 206.6 |

| Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Peak Load (MW) | 283.4 | 303.2 | 324.5 | 347.2 | 364.5 | 382.8 | 401.9 | 414.0 | 426.4 | 439.2 |
| Energy(GWh) | 1682.0 | 1799.7 | 1925.7 | 2060.5 | 2163.5 | 2271.7 | 2385.2 | 2456.8 | 2530.5 | 2606.4 |

## * Calculation of bus load

In the proposed model, a planning year is divided into multiple subperiods which have fixed loads. The number of subperiods could vary depending on the planning requirements or load pattern. For example, we can use 4 subperiods to represent seasonal load or 12 subperiods for monthly loads. Load at each subperiod is calculated based on the given yearly peak load, yearly energy demand. The subperiod load calculation via linear transformation of base year’s corresponding subperiod load is as follows:

Load at subperiod b in year t

Load at suberiod b in base year

Energy demand in year t

Peak load in year t

Peak load in base year

Energy demand in base year

A load distribution factor multiplied by a subperiod load provides bus loads at the subperiod.

Table  5 Existing Generating units characteristics

| GENCO | ID | Capacity(MW) | Bus | Operation Cost ($/MWh) |
| --- | --- | --- | --- | --- |
| 1 | 1 | 20 | 30 | 59.18 |
|  | 2 | 20 | 24 | 46.66 |
|  | 3 | 20 | 11 | 44.12 |
|  | 4 | 80 | 2 | 21.32 |
|  | 5 | 50 | 8 | 15.42 |
|  | 6 | 50 | 5 | 15.38 |
|  | 7 | 100 | 1 | 12.58 |